## 00_Start_Here
UK Landlord Asset, Compliance and Lifecycle Planner
A reusable operating workbook for compliance, room-by-room fire and alarm records, building components, condition surveys, works decisions, lifecycle forecasts and sinking-fund planning.
Workbook Workflow
1 | Setup | Enter the planning date, property codes, jurisdiction and inflation assumptions.
2 | Property profile | Record construction, heating, licensing, EPC and management characteristics.
3 | Compliance | Track certificates, inspections, licences, defects and actual next-due dates.
4 | Fire and alarms | Record every smoke, heat and CO device, including LD1/LD2/LD3 or other design.
5 | Asset components | Record age, condition, useful life and replacement estimate for each component.
6 | Condition surveys | Record risks, photographs and work required immediately, within one year or within five years.
7 | Lifecycle plans | Use the detailed five-year plan and formula-driven fifteen- and thirty-year forecasts.
8 | Reserve model | Compare forecast costs with reserves and calculate monthly sinking-fund requirements.
9 | Works and evidence | Track quotes, decisions, costs, warranties and permanent documents.
Three Dates That Must Stay Separate
Date Type | Meaning | Example | Workbook Location
Compliance due date | Legal, licence, insurer, lender or contract deadline | Gas safety or actual EICR reinspection date | Compliance Register
Maintenance date | Planned service or preventative work | Boiler service or gutter clean | Asset Register / Five-Year Plan
Expected replacement date | Budget estimate based on age, life and condition | Boiler replacement in year 15 | Asset Register / Lifecycle Plans
Important Limitations
Jurisdiction, property type, HMO status, licence conditions, the inspection report and the manufacturer's instructions can change the required action or date. The Compliance Rules sheet is a reference library, not legal advice. Lifecycle assumptions are editable budgeting assumptions and are not statutory expiry dates.
Data Entry and Protection
Editable input cells |  | Enter or maintain source data in pale-yellow cells. Sorting and filtering remain available on protected sheets.
Calculated cells |  | Formula cells are locked to prevent accidental overwriting. Sheet protection has no password.

## 01_Setup
Planner Setup and Portfolio Codes
Planning Settings | [6 empty] | Inflation Assumptions
Setting | Value | [5 empty] | Cost Class | Annual Inflation
Plan start year | 2026 | [5 empty] | Compliance / professional | 3%
As-of date | 2026-08-03 | [5 empty] | Routine maintenance | 3%
Five-year end year | 2030 | [5 empty] | Building works | 4%
Fifteen-year end year | 2040 | [5 empty] | Mechanical and electrical | 4%
Thirty-year end year | 2055 | [5 empty] | Major capital project | 5%
Accelerated scenario shift | -2
Deferred scenario shift | 2
Default contingency | 10%
Default inspection lead time days | 90
Reference rules reviewed | 2026-08-03
Property Codes and Reserve Balances — up to 10
Active | Property Code | Property Name | Jurisdiction | Address / Location | Property Type | Tenure | Bedrooms | Storeys | HMO / Licence Status | Managing Agent | Heating / Fuel | Current Reserve Held | Acquisition Date | Letting Start Date | Notes
Yes | P01 |  | Scotland |  | House | Freehold | [5 empty] | 0
No | P02 |  | Scotland |  | House | Freehold | [5 empty] | 0
No | P03 |  | Scotland |  | House | Freehold | [5 empty] | 0
No | P04 |  | Scotland |  | House | Freehold | [5 empty] | 0
No | P05 |  | Scotland |  | House | Freehold | [5 empty] | 0
No | P06 |  | Scotland |  | House | Freehold | [5 empty] | 0
No | P07 |  | Scotland |  | House | Freehold | [5 empty] | 0
No | P08 |  | Scotland |  | House | Freehold | [5 empty] | 0
No | P09 |  | Scotland |  | House | Freehold | [5 empty] | 0
No | P10 |  | Scotland |  | House | Freehold | [5 empty] | 0

## 02_Dashboard
Asset, Compliance and Lifecycle Dashboard
A portfolio control centre for compliance risk, component condition, lifecycle expenditure and reserve adequacy.
Portfolio Snapshot |  |  |  |  | Risk and Due-Date Exceptions
As-of date | 2026-08-03 |  |  |  | Overdue compliance | 0 |  |  | Overall Status | SETUP
Active properties | 1 |  |  |  | Due within 30 days | 0
Registered components | 0 |  |  |  | Due within 90 days | 0
Compliance items | 0 |  |  |  | Due within 180 days | 0
Compliance completeness | 0% |  |  |  | Open remedial actions | 0
5-year lifecycle spend | 0 |  |  |  | Alarm tests/replacements overdue | 0
15-year lifecycle spend | 0 |  |  |  | Components due within 1 year | 0
30-year lifecycle spend | 0 |  |  |  | Poor or critical components | 0
Current reserves | 0 |  |  |  | Critical/high survey risks | 0
15-year reserve gap | 0 |  |  |  | Open works | 0
[5 empty] | Properties with reserve shortfall | 0
Property Reserve and Lifecycle Position | [9 empty] | Compliance Status Mix
Property | Name | Reserve Held | 5-Year Spend | 15-Year Spend | 30-Year Spend | 15-Year Gap | Monthly Reserve | Funding Status |  | Status | Count | Year | Annual Spend
P01 | P01 | 0 | 0 | 0 | 0 | 0 | 0 | No forecast |  | Overdue | 0 | 2026 | 0
[10 empty] | Due within 30 days | 0 | 2027 | 0
[10 empty] | Due within 90 days | 0 | 2028 | 0
[10 empty] | Due within 180 days | 0 | 2029 | 0
[10 empty] | Current | 0 | 2030 | 0
[10 empty] | No due date | 0 | 2031 | 0
[10 empty] | Not applicable | 0 | 2032 | 0
[12 empty] | 2033 | 0
[12 empty] | 2034 | 0
[12 empty] | 2035 | 0
[12 empty] | 2036 | 0
[12 empty] | 2037 | 0
[12 empty] | 2038 | 0
[12 empty] | 2039 | 0
[12 empty] | 2040 | 0
[12 empty] | 2041 | 0
[12 empty] | 2042 | 0
[12 empty] | 2043 | 0
[12 empty] | 2044 | 0
[12 empty] | 2045 | 0
[12 empty] | 2046 | 0
[12 empty] | 2047 | 0
[12 empty] | 2048 | 0
[12 empty] | 2049 | 0
[12 empty] | 2050 | 0
[12 empty] | 2051 | 0
[12 empty] | 2052 | 0
[12 empty] | 2053 | 0
[12 empty] | 2054 | 0
[12 empty] | 2055 | 0

## 03_Property_Profile
Property and Building Profile
Record the physical, regulatory and management characteristics that determine compliance and lifecycle planning. Property codes and basic fields are drawn from Setup.
Active | Property Code | Property Name | Jurisdiction | Address / Location | Property Type | Tenure | Construction Year | Bedrooms | Storeys | HMO / Licence Status | Communal Responsibilities | Managing Agent | Heating System | Fuel Type | Water Supply | Drainage | Listed / Conservation | Insurer | Policy Renewal | Current EPC Rating | Target EPC Rating | Property Notes
Yes | P01 |  | Scotland |  | House | Freehold

## 04_Compliance_Register
Compliance and Certificate Register
Use the actual certificate, inspection report, licence, insurer or lender date where it is earlier than the default interval. Red items require action.
Compliance ID | Active | Property Code | Property Name | Jurisdiction | Requirement | Compliance Basis | Requirement Level | Last Inspection / Issue | Override Next Due | Default Interval Months | Calculated Next Due | Days to Due | Compliance Status | Result | Defects / Findings | Remedial Due | Remedial Completed | Cost | Certificate / Licence No. | Contractor / Authority | Tenant Copy Issued? | Evidence Ref | Official Source URL | Review Status | Notes

## 05_Fire_Alarm_Schedule
Fire, Smoke, Heat and Carbon Monoxide Device Schedule
Record each device and its exact location. LD1, LD2 and LD3 are design classifications; assess jurisdictional compliance separately.
Device ID | Property Code | Property Name | Jurisdiction | Floor / Storey | Room / Zone | Device Type | Alarm Design / Coverage | Manufacturer | Model | Serial / Batch | Power Source | Interlink Type | Installation Date | Expected Life Years | Replacement Due | Last Functional Test | Test Frequency Months | Next Test | Condition | Accessibility Adaptation | Combustion Appliance / Risk | Defects / Actions | Action Due | Evidence Ref | Device Status

## 06_Asset_Components
Asset Component and Lifecycle Register
One row per material component. Base, accelerated and deferred replacement cycles are calculated from age, useful life, condition, inflation and contingency.
Asset ID | Active | Property Code | Property Name | Jurisdiction | Building Area | Component Category | Component Type | Description | Responsibility | Manufacturer / Specification | Installation Date | Estimated Age Years | Default Life Years | Override Life Years | Effective Life Years | Condition Score | Condition Adjustment Years | Effective Age Years | Remaining Life Years | Current Replacement Estimate | Cost Class | Inflation Rate | Contingency | Base Year 1 | Base Cost 1 | Base Year 2 | Base Cost 2 | Base Year 3 | Base Cost 3 | Accelerated Year 1 | Accelerated Cost 1 | Accelerated Year 2 | Accelerated Cost 2 | Accelerated Year 3 | Accelerated Cost 3 | Deferred Year 1 | Deferred Cost 1 | Deferred Year 2 | Deferred Cost 2 | Deferred Year 3 | Deferred Cost 3 | Last Inspection | Inspection Interval Months | Next Inspection | Priority | Evidence Ref | Notes

## 07_Condition_Surveys
Condition Survey and Defect Register
Record inspections at component level. High safety risk, poor condition and immediate work should be escalated into the Five-Year Plan and Works register.
Survey ID | Inspection Date | Asset ID | Property Code | Component Category | Component / Description | Building Area | Inspector | Condition Score | Safety Risk | Serviceability Risk | Deterioration Observed | Immediate Work | Work Within 1 Year | Work Within 5 Years | Estimated Cost | Photograph Ref | Tenant-Reported Issue | Action Owner | Target Date | Completed Date | Status | Evidence Ref | Notes

## 08_5_Year_Plan
Detailed Five-Year Works and Compliance Plan
Use this operational plan for statutory renewals, servicing, repairs and near-term replacements. The forecast cost uses the selected year, inflation and contingency.
Plan ID | Source Type | Source Ref | Property Code | Component Category | Description | Planned Year | Quarter | Priority | Base Estimate | Inflation Rate | Contingency | Forecast Cost | Funding Source | Reserve Allocated | Actual Cost | Variance | Status | Contractor | Notes

## 09_15_Year_Plan
Fifteen-Year Strategic Lifecycle Plan
Base-scenario replacement cycles from the Asset Component Register. This strategic view groups expenditure by year and component category.
Year | Roof | External fabric | Windows and doors | Fire safety | Heating | Electrical | Kitchen | Bathroom | Internal finishes | Drainage | Domestic appliances | External works | Energy efficiency | Other | Annual Total | Cumulative
2026 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2027 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2028 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2029 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2030 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2031 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2032 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2033 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2034 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2035 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2036 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2037 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2038 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2039 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2040 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## 10_30_Year_Plan
Thirty-Year Scenario Lifecycle Forecast
Select Accelerated, Base or Deferred. The model shifts each component cycle and recalculates the inflation-adjusted cost.
Scenario | Base
Year | Roof | External fabric | Windows and doors | Fire safety | Heating | Electrical | Kitchen | Bathroom | Internal finishes | Drainage | Domestic appliances | External works | Energy efficiency | Other | Annual Total | Cumulative
2026 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2027 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2028 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2029 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2030 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2031 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2032 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2033 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2034 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2035 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2036 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2037 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2038 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2039 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2040 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2041 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2042 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2043 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2044 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2045 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2046 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2047 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2048 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2049 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2050 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2051 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2052 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2053 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2054 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2055 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## 11_Cost_Reserve_Model
Cost and Sinking-Fund Reserve Model
Base-scenario lifecycle costs are compared with the current reserve. Select the planning horizon used for the recommended monthly sinking-fund contribution.
Active | Property Code | Property Name | Reserve Held | 5-Year Spend | 15-Year Spend | 30-Year Spend | Annual 5-Year Reserve | Monthly 5-Year Reserve | Annual 15-Year Reserve | Monthly 15-Year Reserve | Annual 30-Year Reserve | Monthly 30-Year Reserve | 5-Year Gap | 15-Year Gap | 30-Year Gap | Selected Horizon | Recommended Monthly Reserve | Funding Status
Yes | P01 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15 years | 0 | No forecast
No |  |  | 0 | [12 empty] | 15 years
No |  |  | 0 | [12 empty] | 15 years
No |  |  | 0 | [12 empty] | 15 years
No |  |  | 0 | [12 empty] | 15 years
No |  |  | 0 | [12 empty] | 15 years
No |  |  | 0 | [12 empty] | 15 years
No |  |  | 0 | [12 empty] | 15 years
No |  |  | 0 | [12 empty] | 15 years
No |  |  | 0 | [12 empty] | 15 years
PORTFOLIO | Control total |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0

## 12_Works_Quotes
Works, Quotes and Decision Register
Connect identified defects and lifecycle projects to contractor quotes, approvals, actual costs, warranties and the capital/revenue review.
Work ID | Property Code | Asset ID | Compliance ID | Survey ID | Scope / Defect | Work Type | Contractor 1 | Quote 1 | Contractor 2 | Quote 2 | Contractor 3 | Quote 3 | Selected Contractor | Selected Quote | Decision / Rationale | Approval Date | Planned Start | Completion Date | Budget | Final Cost | Variance | Warranty Expiry | Retention / Holdback | Capital / Revenue Review | Evidence Ref | Status | Notes

## 13_Evidence_Warranties
Evidence, Certificate and Warranty Index
Index certificates, reports, invoices, photographs, manuals, warranties, approvals and insurance records. Store the actual file outside the workbook and retain a stable reference.
Document ID | Property Code | Linked Asset / Compliance / Work Ref | Evidence Type | Document Title | Document Date | Expiry / Renewal Date | Provider / Contractor | File Name or Location | Warranty Start | Warranty End | Status | Reviewed By | Review Date | Notes

## 14_Compliance_Rules
Jurisdiction-Aware Compliance Reference Library
Use the actual certificate, report, licence or insurer requirement where it gives an earlier date. Official sources were reviewed on 3 August 2026.
Rule Key | Jurisdiction | Requirement | Basis | Default Interval Months | Due-Date Method | Reference Summary | Official Source URL | Reviewed | Planner Note
England¦EPC | England | EPC | Statutory | 120 | Issue date plus validity | EPC normally valid for 10 years; use a newer certificate if issued. | https://www.gov.uk/government/publications/energy-performance-certificates-for-the-construction-sale-and-let-of-dwellings/a-guide-to-energy-performance-certificates-for-the-marketing-sale-and-let-of-dwellings | 2026-08-03 | Confirm exemptions and minimum-rating rules separately.
England¦Gas safety | England | Gas safety | Statutory | 12 | Annual check | Landlord-provided gas appliances and flues require an annual gas-safety check. | https://www.hse.gov.uk/gas/landlords/safetycheckswhat.htm | 2026-08-03 | Use the engineer's record.
England¦EICR | England | EICR | Statutory | 60 | Earlier of 5 years or report | Electrical inspection at no more than five years, or earlier if the report specifies. | https://www.legislation.gov.uk/uksi/2020/312/part/2/made?view=plain | 2026-08-03 | Remedial work can have shorter deadlines.
England¦Smoke and CO alarms | England | Smoke and CO alarms | Statutory |  | Device and tenancy controls | Smoke alarm on each relevant storey and CO alarm in relevant rooms with fixed combustion appliances. | https://www.gov.uk/government/publications/smoke-and-carbon-monoxide-alarms-explanatory-booklet-for-landlords/the-smoke-and-carbon-monoxide-alarm-england-regulations-2015-qa-booklet-for-the-private-rented-sector-landlords-and-tenants | 2026-08-03 | LD categories are design classifications, not universal statutory wording.
Wales¦EPC | Wales | EPC | Statutory | 120 | Issue date plus validity | EPC validity follows the England and Wales regime. | https://www.gov.uk/government/publications/energy-performance-certificates-for-the-construction-sale-and-let-of-dwellings/a-guide-to-energy-performance-certificates-for-the-marketing-sale-and-let-of-dwellings | 2026-08-03 | Confirm Welsh exemptions.
Wales¦Gas safety | Wales | Gas safety | Statutory | 12 | Annual check | Annual gas-safety control for landlord-provided appliances and flues. | https://www.hse.gov.uk/gas/landlords/safetycheckswhat.htm | 2026-08-03 | Use actual certificate date.
Wales¦EICR | Wales | EICR | Statutory | 60 | Earlier of 5 years or report | Valid EICR required; use a shorter reinspection date where stated. | https://rentsmart.gov.wales/en/news/112/understanding-electrical-installation-condition-report-%28eicr%29-codes/ | 2026-08-03 | Track tenant copy and remedial evidence.
Wales¦Smoke and CO alarms | Wales | Smoke and CO alarms | Statutory |  | Device and property controls | Mains-powered interlinked smoke alarms on every storey; CO alarms in specified rooms. | https://rentsmart.gov.wales/en/news/87/smoke-and-carbon-monoxide-alarms-how-to-evidence-they-are-in-place/ | 2026-08-03 | Complex and HMO properties may need more.
Scotland¦EPC | Scotland | EPC | Statutory | 120 | Current validity period | Current guidance states 10 years; check reforms when commissioning a new EPC. | https://www.gov.scot/publications/energy-performance-certificates-guide/pages/private-rented-buildings/ | 2026-08-03 | Review current Scottish regime at issue date.
Scotland¦Gas safety | Scotland | Gas safety | Statutory | 12 | Annual check | Private landlords must arrange annual gas-safety checks where gas is present. | https://www.gov.scot/publications/private-residential-tenancy-model-agreement/pages/5/ | 2026-08-03 | Use actual engineer record.
Scotland¦Electrical safety | Scotland | Electrical safety | Statutory | 60 | Earlier of 5 years or report | Electrical safety inspection at intervals of no more than five years. | https://www.gov.scot/publications/repairing-standard-statutory-guidance-private-landlords/pages/16/ | 2026-08-03 | Track landlord-provided appliances where relevant.
Scotland¦Fire and smoke alarms | Scotland | Fire and smoke alarms | Statutory |  | Device and room controls | Interlinked smoke alarms in living room and halls/landings, heat alarm in kitchen. | https://www.gov.scot/publications/fire-and-smoke-alarms-in-scottish-homes/pages/what-each-home-needs/ | 2026-08-03 | CO alarms have separate room rules.
Scotland¦CO alarms | Scotland | CO alarms | Statutory |  | Device life and room controls | CO detection in rooms with relevant fixed carbon-fuel appliances or flues. | https://www.gov.scot/publications/repairing-standard-statutory-guidance-private-landlords/pages/15/ | 2026-08-03 | Use manufacturer expiry.
Northern Ireland¦EPC | Northern Ireland | EPC | Statutory | 120 | Issue date plus validity | Northern Ireland EPCs are valid for 10 years. | https://www.finance-ni.gov.uk/articles/energy-performance-certificates-frequently-asked-questions | 2026-08-03 | Confirm current exemptions.
Northern Ireland¦Gas safety | Northern Ireland | Gas safety | Statutory | 12 | Annual check | Landlords must arrange annual gas-safety checks for landlord-provided gas equipment. | https://www.nidirect.gov.uk/articles/health-and-safety-rented-accommodation | 2026-08-03 | Check current HSENI rules and amendments.
Northern Ireland¦Electrical safety | Northern Ireland | Electrical safety | Statutory | 60 | Actual report or earlier date | NI guidance states installations must be inspected and tested at least every five years. | https://www.nidirect.gov.uk/articles/landlord-and-tenant-obligations | 2026-08-03 | Track actual report.
Northern Ireland¦Smoke heat and CO alarms | Northern Ireland | Smoke heat and CO alarms | Property-specific |  | Current device controls | Track current NI requirements, tenancy type and HMO rules. | https://www.nidirect.gov.uk/articles/health-and-safety-rented-accommodation | 2026-08-03 | Confirm current configuration requirements.

## 15_Lifecycle_Library
Editable Component Lifecycle Library
Useful lives are planning assumptions only. Override them where surveys, warranties, manufacturer guidance, construction type or condition justify a different period.
Library Key | Component Category | Component Type | Default Useful Life Years | Inspection Interval Months | Cost Class | Default Contingency | Typical Responsibility | Lifecycle Basis | Planning Note | Source / Evidence
Roof¦Pitched roof covering | Roof | Pitched roof covering | 30 | 12 | Major capital project | 15% | Landlord | Planning assumption | Inspect annually and after severe weather. | Survey / contractor
Roof¦Flat roof covering | Roof | Flat roof covering | 20 | 12 | Major capital project | 15% | Landlord | Planning assumption | Life varies by membrane and detailing. | Survey / warranty
Roof¦Roof structure | Roof | Roof structure | 50 | 24 | Major capital project | 15% | Landlord | Planning assumption | Treat defects separately from covering. | Structural survey
External fabric¦Gutters and rainwater goods | External fabric | Gutters and rainwater goods | 20 | 12 | Building works | 10% | Landlord | Planning assumption | Clean more often near trees. | Inspection
External fabric¦Render / external finish | External fabric | Render / external finish | 25 | 24 | Building works | 15% | Landlord | Planning assumption | Exposure affects cycle. | Survey
External fabric¦External decoration | External fabric | External decoration | 7 | 12 | Routine maintenance | 10% | Landlord | Planning assumption | Shorter in exposed locations. | Inspection
Windows and doors¦UPVC windows | Windows and doors | UPVC windows | 25 | 24 | Building works | 15% | Landlord | Planning assumption | Hardware may need earlier work. | Survey
Windows and doors¦Timber windows | Windows and doors | Timber windows | 20 | 12 | Building works | 15% | Landlord | Planning assumption | Maintenance affects life. | Survey
Windows and doors¦External doors | Windows and doors | External doors | 20 | 12 | Building works | 10% | Landlord | Planning assumption | Fire doors need separate controls. | Inspection
Fire safety¦Fire door set | Fire safety | Fire door set | 20 | 6 | Building works | 15% | Landlord | Planning assumption | Use fire-risk assessment. | Fire inspection
Heating¦Gas boiler | Heating | Gas boiler | 15 | 12 | Mechanical and electrical | 15% | Landlord | Planning assumption | Service cycle is separate. | Service history
Heating¦Heat pump | Heating | Heat pump | 15 | 12 | Mechanical and electrical | 15% | Landlord | Planning assumption | Components may differ. | Manufacturer
Heating¦Radiators and controls | Heating | Radiators and controls | 25 | 24 | Mechanical and electrical | 10% | Landlord | Planning assumption | Controls may be earlier. | Inspection
Heating¦Hot-water cylinder | Heating | Hot-water cylinder | 20 | 12 | Mechanical and electrical | 15% | Landlord | Planning assumption | Check warranty. | Manufacturer
Electrical¦Consumer unit | Electrical | Consumer unit | 25 | 60 | Mechanical and electrical | 15% | Landlord | Planning assumption | Safety date controlled separately. | EICR
Electrical¦Fixed wiring installation | Electrical | Fixed wiring installation | 30 | 60 | Mechanical and electrical | 15% | Landlord | Planning assumption | Condition can outweigh age. | EICR
Kitchen¦Kitchen units and worktops | Kitchen | Kitchen units and worktops | 15 | 12 | Major capital project | 15% | Landlord | Planning assumption | Specification affects cycle. | Inspection
Bathroom¦Bathroom suite and finishes | Bathroom | Bathroom suite and finishes | 20 | 12 | Major capital project | 15% | Landlord | Planning assumption | Waterproofing may drive work. | Inspection
Internal finishes¦Carpet | Internal finishes | Carpet | 7 | 12 | Routine maintenance | 10% | Landlord | Planning assumption | High turnover can shorten. | Inspection
Internal finishes¦Hard flooring | Internal finishes | Hard flooring | 15 | 12 | Routine maintenance | 10% | Landlord | Planning assumption | Depends on material. | Inspection
Internal finishes¦Internal decoration | Internal finishes | Internal decoration | 5 | 12 | Routine maintenance | 10% | Landlord | Planning assumption | Often tenancy-driven. | Inspection
Drainage¦Soil and waste pipes | Drainage | Soil and waste pipes | 30 | 24 | Building works | 15% | Landlord | Planning assumption | Check responsibility. | Survey
Drainage¦Underground drainage | Drainage | Underground drainage | 50 | 36 | Major capital project | 20% | Landlord | Planning assumption | Use CCTV survey for defects. | Drain survey
Fire safety¦Smoke alarm | Fire safety | Smoke alarm | 10 | 12 | Compliance / professional | 10% | Landlord | Manufacturer life | Replace by marked expiry. | Manufacturer
Fire safety¦Heat alarm | Fire safety | Heat alarm | 10 | 12 | Compliance / professional | 10% | Landlord | Manufacturer life | Replace by marked expiry. | Manufacturer
Fire safety¦Carbon monoxide alarm | Fire safety | Carbon monoxide alarm | 7 | 12 | Compliance / professional | 10% | Landlord | Manufacturer life | Use marked expiry date. | Manufacturer
Domestic appliances¦Washer / washer-dryer | Domestic appliances | Washer / washer-dryer | 8 | 12 | Mechanical and electrical | 10% | Landlord | Planning assumption | Track repairs and warranty. | Manufacturer
Domestic appliances¦Fridge / freezer | Domestic appliances | Fridge / freezer | 10 | 12 | Mechanical and electrical | 10% | Landlord | Planning assumption | Efficiency may influence replacement. | Manufacturer
External works¦Fencing and gates | External works | Fencing and gates | 15 | 12 | Building works | 15% | Landlord | Planning assumption | Storm and rot exposure matter. | Inspection

## 16_Assumptions
Planning Assumptions and Scenario Controls
These are budgeting assumptions. Edit them for local pricing, property condition, planned specification and risk appetite.
Scenario Definitions
Scenario | Year Shift | Interpretation | Cost Treatment | Use | Notes
Accelerated | -2 | Replacement brought forward | Inflation to earlier year | Risk-averse / poor condition
Base | 0 | Expected replacement year | Base inflation and contingency | Central plan
Deferred | 2 | Replacement delayed | Inflation to later year | Cash constrained / monitored | Never defer safety or statutory work
Condition Score Guide
Score | Description | Typical Interpretation | Adjustment Years | Inspection Response | Replacement Response | Colour | Notes
1 | Excellent | New or recently renewed | 0 | Normal cycle | No acceleration | Green
2 | Good | Serviceable with minor wear | 0 | Normal cycle | No acceleration | Green
3 | Fair | Ageing or moderate defects | 1 | Increase monitoring | Consider bringing forward | Amber
4 | Poor | Material deterioration | 3 | Detailed survey / prompt work | Bring forward | Red
5 | Critical | Failed, unsafe or near failure | 10 | Immediate action | Replace or make safe | Red

## 99_Lists
Reference Lists
Active | Jurisdiction | Property Type | Tenure | Status | Compliance Status | Compliance Basis | Requirement Level | Result | Yes No NA | Alarm Device | Alarm Power | Interlink | Alarm Design | Condition Score | Risk | Priority | Responsibility | Cost Class | Plan Source | Compliance Requirement | Asset Category | Work Type | Funding Source | Evidence Type
Yes | England | House | Freehold | Not started | Overdue | Statutory | Mandatory | Satisfactory | Yes | Smoke alarm | Mains with backup | Hard-wired | LD1 | 1 | Critical | Immediate | Landlord | Compliance / professional | Compliance | EPC | Roof | Inspection | Existing reserve | Certificate
No | Wales | Flat | Leasehold | In progress | Due within 30 days | Licence condition | Conditional | Unsatisfactory | No | Heat alarm | Sealed long-life battery | Radio interlink | LD2 | 2 | High | Within 3 months | Freeholder | Routine maintenance | Asset lifecycle | Gas safety | External fabric | Service | Monthly sinking fund | Report
| Scotland | Bungalow | Commonhold | Complete | Due within 90 days | Insurer | Recommended | Pass | Not applicable | Carbon monoxide alarm | Replaceable battery | Panel linked | LD3 | 3 | Medium | Within 12 months | Management company | Building works | Condition survey | EICR | Windows and doors | Repair | Landlord contribution | Invoice
| Northern Ireland | Maisonette | Feuhold / Scottish title | Not applicable | Due within 180 days | Lender | Property-specific | Fail |  | Combined smoke/CO alarm | Hard-wired panel | Not interlinked | BS 5839-6 design | 4 | Low | 1-3 years | Joint owners | Mechanical and electrical | Tenant report | Electrical safety | Fire safety | Replacement | Insurance | Warranty
|  | HMO | Other | On hold | Current | Recommended |  | Advisory |  | Visual alarm | Other | Not applicable | Jurisdiction minimum | 5 | None | 3-5 years | Tenant | Major capital project | Insurance | Smoke and CO alarms | Heating | Improvement | Loan / refinance | Manual
|  | Short-term accommodation |  |  | No due date | Manufacturer |  | Not tested |  | Vibrating pad |  |  | HMO / fire-risk design |  |  | Long term | Insurer |  | Licence | Fire and smoke alarms | Electrical | Remedial safety work | Service charge | Photograph
|  | Other |  |  | Not applicable | Management company |  | Not applicable |  | Control panel |  |  | Other / not assessed |  |  | Monitor | Other |  | Energy improvement | CO alarms | Kitchen | Capital project | Grant | Plan / drawing
[10 empty] | Other | [8 empty] | Other | PAT / appliance testing | Bathroom | Other | Other | Building control
[20 empty] | Fire-risk assessment | Internal finishes |  |  | Planning approval
[20 empty] | Legionella assessment | Drainage |  |  | Insurance
[20 empty] | Asbestos record | Domestic appliances |  |  | Correspondence
[20 empty] | Lift inspection | External works |  |  | Other
[20 empty] | Emergency lighting | Energy efficiency
[20 empty] | Fire-door inspection | Other
Chimney / flue service
Boiler service
Oil / solid-fuel service
HMO licence
Selective / additional licence
Insurance renewal
Other